Laboratory Instruction Manual

#### Physics 133/219

Condensed Matter Physics-Material Science

Laboratory

# Spring, 2013

Professor M. Brian Maple

TA:

Sooyoung Jang

Veronica Burnett

Physics Department,

University of California, San Diego

Table of Contents

I.  Introduction

A. Goals and organization

B.  Equipment inventory

C. Safety guidelines

II. Getting started

III. Some example projects

A. 	Transport properties of various materials

### B. YBCO

- The role of oxygen

- The effects of chemical substitution

C. Thin films

IV. Equipment guidelines

A.  Quantum Design SQUID magnetometer

- Researcher 101 magnetron sputtering unit

C. Rigaku X-ray Diffractometer

- Guidelines for writing a paper

I. INTRODUCTION

A. Goals and Organization

The purpose of this laboratory class in Condensed Matter-Materials Science is to give you a feeling for the excitement of research in a modern condensed matter-materials science laboratory.  To accomplish this purpose, the course is structured in such a way as to expose you to many of the challenges and techniques you will encounter in a future research career.  With guidance, you will formulate goals and methods of an experiment, design its specific aspects, perform the experiment and report on your results. Your dedication and inclination will determine how far your research will go. In some cases your work may have the potential to be published in a professional scientific journal.

In this laboratory the projects will be in line with current research and fields of interest in condensed matter and material science. This will give you a feel for the environment of a graduate student or researcher in today’s laboratory environment.

To perform this type of research you will have to:

1.  Understand the basics of the problem

2. Research your problem in the library to learn the fundamental concepts needed to pursue the research

3.  Define initial goals for your experiments

4.  Learn the basics and the operation of the instrumentation you will use

5.  Perform experimental measurements of relevant parameters

6.  Develop the theoretical methodology to analyze your data

7.  Keep a detailed research notebook

8.  Write a paper in the format of a scientific letter

9.  Give a 20 minute talk in front of a committee

In the pursuit of your research goals you will be given help in a variety of forms:

1. This manual will orient you and start you thinking about an experiment.  Note that this is not a complete well-defined write-up where every detail has been presented.

2. Inquiry should first be addressed to the teaching assistants who are familiar and knowledgeable in the field.  However, this does not mean that they know everything. The teaching assistants will be available in the laboratory Mayer Hall 3229 and in their offices.

3.  You will have access to Prof. Maple, who is an investigator in the field in which you are performing experiments. However, he may not know everything either.  He will be available in the laboratory from time to time and by appointment in his office at 1230 Mayer Hall.

4.  The lab will be open and staffed at the times scheduled at the beginning of the course.  Students are prohibited from using the lab without the appropriate supervision of at least one TA.

5. You may wish to discuss your problems, research results, etc., with anybody outside the formal course instructors. This includes other members of the university, your classmates, friends, etc.

You are expected to work in groups of three or four, which will be arranged at the beginning of the quarter. You are expected to collaborate on all aspects of the research including definition of the problem, using the equipment, maintaining proper research records, analyzing the data and writing the final paper.  It is expected that you will need to spend at least 8 - 12 hours a week for this course.

There will be a bi-weekly evaluation of your research, the quality of your research records, and the speed at which your research is advancing by the teaching assistants together with the instructor.  This is to be used as feedback information to improve your research.  There will be an evaluation of your paper before the end of the quarter, the ninth week, by a number of referees, as is done in the real research world.  Based on this report you may want to change or improve your manuscript, or respond to the criticisms of the referees. The final grade will be based partly upon your final report.

B.  Equipment inventory

All the facilities necessary to make polycrystalline high-Tc samples are here, including chemicals, an electronic balance, mortars and pestles, a hydraulic press, a dc electromagnet, cleaning supplies, and furnaces.  We have access to X-ray machines for characterizing samples.  A tube furnace allows annealing of samples under flowing gas, such as oxygen.  Soldering irons, silver paint, a diamond wheel saw, and a microscope allow samples to be prepared for measuring resistivity.

The Quantum Design SQUID MPMS2 magnetometer measures the magnetic moment of samples as a function of temperature and applied magnetic field (see below).  Electrical resistivity can be measured in liquid 4He dewar to 2 K, or in the MPMS2 down to 1.8 K.

Computing facilities are available for data and structural analysis (Excel, Origin, and Vesta), but papers must be written using either your home computer, or one at a campus facility, preferably in LaTeX.

C.  Safety Guidelines

A modern laboratory requires the usage of equipment that may be potentially hazardous to your health or even lethal. It is impossible to set up modern equipment and pursue interesting research without any potential hazards.  Because of this, you are required to familiarize yourself with all potential hazards, and to ALWAYS STRICTLY OBEY ALL THE SAFETY RULES.  Violations of the safety rules may lead to termination of laboratory privileges as in a real research laboratory environment.

Three general safety rules, which apply to all experiments, are:

° Understand  your equipment !!!

° Never work alone !!!

° Never disable or by-pass safety devices !!!

1.  HIGH VOLTAGE

All electrical power supplies are potentially dangerous, especially for some high voltage supplies present in the laboratory.  The supplies may be dangerous even if they are turned off, since power supplies may have capacitors that take a while to discharge.  When testing electronic circuits always keep one hand in your pocket so that if you get a shock it will not be across your chest.  Never go barefoot in the laboratory.  Always unplug all equipment if you need to test inside or change connections.  Never poke or probe with any objects into electrical supplies.

Remember current can kill !!!

2.  CRYOGENICS

Cryogenic liquids and cold surfaces may be potentially dangerous.  Liquid helium and nitrogen are chemically inert, however may cause severe frostbite or asphyxiation if there is inadequate ventilation. Wear safety glasses and gloves when handling any cryogenic liquids or surfaces. Never leave caps of cryogenic dewars open, since air may condense in the neck of the dewar, leading to a build up of pressure, and then an explosion.

Remember some cryogenic liquids burn and may explode!!!

3.  X-RAYS

You will perform X-ray diffraction ALWAYS together with a teaching instructor and NEVER ON YOUR OWN.  During data acquisition, the X-ray apparatus is configured so as to avoid exposure of the operator to dangerous X-rays.  The safety interlocks should never be bypassed.  Never stick any part of your body in the X-ray beam.

Remember radiation exposure is cumulative and can cause permanent damage!!!

4.  CHEMICALS

Some of the chemicals you will be dealing with are highly toxic.  Before using any new material, look up its properties in Dangerous Properties of Materials by N. Irving Sax or a similar text, or look up the Materials Safety Data Sheets (MSDS) which can be found on the EH&S website (http://www-ehs.ucsd.edu). Most of the chemicals you will be using are in powder form, which can be readily inhaled and can stick to your skin and clothing.  Avoid creating airborne dust when handling the powders and avoid contact with your skin.  The powders can cause irritation of the eyes, nose and respiratory tract and cause serious side effects if ingested.  Whenever you handle these materials it is extremely important that you:

1.  Wear gloves.

2.  Wear a particulate mask.

3.  Do not touch your eyes, nose or mouth until hands have been thoroughly washed with soap and water.

4.   Dispose of wastes in the properly labeled bins for solid or liquid hazardous waste.

- No food or drink in any sample preparation or measurement areas.

- Always wash your hands and forearms after work, even if you were wearing gloves.

When using acetone, avoid breathing the vapors.  Some people have been known to experience headaches and/or dizziness from inhaling acetone fumes.  Should you experience dizziness at any time, remove yourself to fresh air.  Read the attached sheet on the effects of lead poisoning and realize that these dangers apply to all heavy metals.

When you are finished working with chemicals, be sure to always clean up after yourself.  Remove all traces of dust so that the next person using the lab is not unwittingly exposed to hazardous chemicals.

5.  FURNACES

The furnaces you will be working with operate at extremely high temperatures (up to ~1200° C), so you will need to take some common sense precautions when dealing with them.  Never leave flammable materials (such as Kimwipes, paper or acetone) near the furnaces.  Always use tongs to remove hot objects from the furnaces, and always place hot objects on the fire bricks. Never place them directly on the table top!  Also note the location of the nearest fire extinguisher in case of a fire.

6.  HYDRAULIC PRESS

The hydraulic press can subject materials to extremely high pressures.  Whenever you pressurize a material, always have the protective shield closed and latched!  If the material should give, pieces of metal can shoot out at high speeds and cause serious damage.  Always be sure that the pressure is completely released before opening the door.

7.  EMERGENCIES

In case of an emergency or accident, contact one of the following people:

Campus police	            858-543-HELP

Sooyoung Jang	858-534-2493   Mayer Hall 1210   sojang@ucsd.edu

Veronica Burnett	858-534-2493   Mayer Hall 1210   vburnett@physics.ucsd.edu

M. Brian Maple	858-534-3968   Mayer Hall 1230   mbm@physics.ucsd.edu

II.  Getting started

In this laboratory, we have the capability to make ceramic oxide materials, such as high-Tc superconductors. You will need to do some research in the library to get a feel for what kind of experiments are done, what interests you, and what you have the capability to do in this laboratory in a 9 week class.

Start by getting a book on superconductivity, then find some review papers - there are several by Prof. Maple which are very interesting and relevant to this class.  Physica C is a good journal of superconductivity, Physica B and Physical Review B are condensed matter journals, Physical Review Letters is the most prestigious journal, but you may not find it very useful for this purpose.  There are also journals of magnetic materials and materials science that may help.  The more time you spend choosing your project carefully in the beginning, the better your final product will be.

III.  Some example projects

The most common experiments to do on the high-Tc’s are chemical substitutions into well known superconductors, such as YBa2Cu3O7-δ, La2CuO4, etc.  You may substitute an element for one of these elements, for example, substitute Pr for Y, or Zn or Fe for Cu.  You can control the amount of “impurity” that you substitute in, as well as the oxygen content, both of which affect the superconducting properties.  Your project may emphasize making a lot of samples, or making a few samples with many measurements.

You may also explore "conventional" materials that have interesting magnetic properties such as iron oxide (although preparation of a good sample may be difficult in this particular case).  One of the hot topics in recent years has been the giant magnetoresistive (GMR) materials, which include LaMnO3.  These materials exhibit a relatively large change in their electrical resistance when a magnetic field is applied, which makes them potentially useful for magnetic recording, or as a magnetic field sensor.  You may also consider making a device out of one of these materials, such as a magnetic field sensor or superconducting transistor, but the primary emphasis should be on the material itself.

There are also other preparation facilities available that require special TA assistance.  These include arc furnaces for metallic polycrystalline growth and facilities for single crystal growth from flux.  If you are interested in a material requiring any of these methods, ask your instructor for more information.

Example Projects:

1.  Transport measurements of various materials: Study the electrical resistivity of a number of substances: ordinary metal, semiconductor, insulator, conventional superconductor, high Tc ceramic superconductor.  Make at least one sample of each of these, measure their electrical resistivity as a function of temperature, and compare your results to those of other researchers.  Compare and contrast the results and discuss the different microscopic mechanisms responsible for the electron transport in these systems.

2.  The role of oxygen in YBa2Cu3O7-δ: Make some ceramic samples by reaction of barium carbonate, yttrium-, and copper-oxide, then systematically vary the oxygen content by annealing the samples under flowing gas.  Use X-ray diffraction to determine the crystal structure and lattice parameters, and measure superconducting properties using the SQUID magnetometer and/or the closed cycle refrigerator as a function of oxygen content.

3.  Chemical substitution in YBCO: Study the superconducting properties of YBCO as a function of chemical doping, either on the yttrium site or on the copper site.  What effect do different elements, magnetic or nonmagnetic, have on the magnetization, lattice parameters?

A. Magnetic properties of superconductors

Although there are many interesting properties of superconductors one could investigate, magnetic properties of superconductors are particularly unique and one can potentially obtain a lot of information about the superconductor from them.  The equipment in this lab will enable you to make a high TC superconductor (HTSC) and measure its magnetic properties using a state-of-the-art SQUID magnetometer (which itself utilizes some of the unique magnetic properties of superconductors for its operation).

Many materials are superconducting, including many of the elements of the periodic table - such common metals as tin, lead, aluminum, and mercury.  Literally thousands of superconducting alloys have been discovered; yet there probably remain many more to be discovered.  At present there is no way to predict what materials should be superconducting - the materials are just too complex.  There even exist organic superconductors and, of course, oxide superconductors which include the high-TC copper-oxides.

There are many avenues your research project could take.  One of the most basic properties you could investigate initially is the Meissner effect, which is unique to superconductors.  Below the superconducting critical temperature TC, a superconductor will completely expel a low applied magnetic field, resulting in a perfect (volume) diamagnetic susceptibility which you could measure in the magnetometer.  No other property of matter will yield such a large diamagnetic signal.  Yet even such a basic property as the Meissner effect is not as straightforward as some textbooks might lead you to believe.  For example, you might try to measure the magnetic susceptibility in the following way.  First cool the sample in zero applied magnetic field Ha to a temperature below Tc.  Then apply a low field Ha (say, 10 Oe), and collect data as the temperature T is increased to above Tc.  The resulting curve is referred to as the zero-field-cooled ZFC or screening susceptibility.  In this case the field is excluded from the sample due to screening currents on the surface of the sample.  But if you then cool the sample from above Tc to low temperatures note that data yields a smaller diamagnetic signal.  In this case, the field must be expelled from the interior of the sample.  This is called the field-cooled FC or Meissner signal.  How would a perfect conductor behave?  How would a superconductor with a hole in the middle behave?

There are other phenomena that can cause irreversible magnetic behavior in superconductors.  For Type II superconductors such as PbMo6S8, flux pinning is such a phenomenon.  You might want to measure the Meissner effect for a Type I superconductor like Pb or Sn, or for a HTSC.  Is χ(T) irreversible for these materials?

Because the superconducting signal is so large, the demagnetization factor cannot be neglected - the magnetization depends on the shape of the sample.  Information on the demagnetization factor can be found in Cullity, Shoenberg, and Kittel (see reference list).  In the figure, if the sample weighed 0.2 grams and was measured in a field of 5 Oe, what is the demagnetization factor if you assume the sample is 100% superconducting? (Assume also that the volume of the unit cell is 800 Å3 and contains 3 formula units.)  What factors might broaden the transition just below TC?  What if the size of the particles you are measuring are on the order of the magnetic penetration depth?

Another useful type of measurement one can make is a magnetization isotherm.  If you perform a M(H) run for a HTSC, you will find that it is highly irreversible.  Again, this is due to flux pinning.  The irreversible contribution to M(H) can be understood in terms of Bean's critical-state model (see Tinkham).  Using this model, one can extract the critical current density JC(H) from the M(H) hysteresis.  How do you think this value will compare to the transport critical current density obtained by passing an external current through the sample?

Studying the problem further, you might notice that under certain conditions, the magnetization in the superconducting state has a time dependence.  This occurs in the mixed state of Type II superconductors due to thermal activation of pinned magnetic flux vortices, which leads to flux creep.  In the fully critical state, the relaxation is logarithmic in time and one defines a relaxation rate S, which depends on the flux pinning energies (within a thermal activation model).  Prior to HTSC, little research was done in this area.  But because giant flux creep in the HTSC's limits their usefulness in practical applications, a large amount of experimental and theoretical work is currently being done on flux vortex dynamics.  Much, if not most, of the magnetic relaxation measurements have been done using commercial SQUID magnetometers like the QD MPMS in this laboratory.

One must be careful in interpreting data taken on a machine deemed as a "black box".  You should become familiar with the basic principle of operation of the SQUID magnetometer.  (See handout or manuals of the QD MPMS.)  Of special concern are (1) finite remnant magnetic fields of the superconducting magnet; (2) cycling the sample in an inhomogeneous field; (3) transverse magnetic moments; (4) external noise sources; (5) magnetic impurity contributions.

So, there are many avenues one could take simply by making different materials and measuring various magnetic properties.  What we have presented to you so far are only suggestions on how to get started in this fascinating field.

REFERENCES

For general introduction to Solid State Physics, including superconductivity, magnetism, and x-ray diffraction:

1.  C. Kittel, Introduction to Solid State Physics, 5th ed. (Wiley, New York, 1976).

2.  N. W. Ashcroft and N. D. Mermin, Solid State Physics, (Saunders College, Philadelphia, 1976).

MAGNETIC PROPERTIES OF SUPERCONDUCTORS:

3.  M. Tinkham, Introduction to Superconductivity, (Krieger, Malabar, Fl., 1985).

4.  D. Shoenberg, Superconductivity, 2nd ed. (Cambridge University Press, New York, 1960).

5.  E. A. Lynton, Superconductivity, (Wiley, New York, 1962).

HIGH TEMPERATURE SUPERCONDUCTORS:

6.  "Superconductivity in Copper Oxide Compounds - Prospects and Perspectives", M. B. Maple, in Superconductivity and its Applications, ed. H. S. Kwok and D. T. Shaw (Elsevier, 1988), p. 478.

7.  " Superconductors Beyond 1-2-3", R. J. Cava, Sci. Am., Aug. 1990, p. 42.

8.  "Demonstrating Superconductivity at Liquid Nitrogen Temperatures", E. A. Early, C. L. Seaman, K. N. Yang, and M. B. Maple, Am. J. Phys. 56 (7), 617 (1988).

9.  J.J. Neumeier, T. Bjornholm, M.B. Maple, and I.K. Schuller, Phys. Rev. Lett. 63, 2516 (1989).

MAGNETISM:

- B. D. Cullity, Introduction to Magnetic Materials, (Addison-Wesley, Menlo Park, CA, 1972).

X-RAYS:

- J. Als-Nielsen and D. McMorrow, Elements of Modern X-Ray Physics, (John Wiley & Sons, New York, 2001).

LOW TEMPERATURE MEASUREMENTS:

- F. Pobell, Matter and Methods at Low Temperatures, (Springer, New York, 1996).

B.  Magnetic flux relaxation in Y1-xMxBa2Cu3O7; (M = Pr, Ho, Ca)

The discovery of high temperature superconductivity in copper oxide ceramic materials has generated a great deal of interest in the scientific community.  These materials have many unusual properties that have yet to be completely understood.  Among these are incredibly high superconducting critical temperatures Tc as high as 160 K (exceeding the boiling point of liquid nitrogen LN2 = 77 K), and extremely large upper critical fields Hc2 estimated to be as high as 150 tesla at T = 0.  These two properties in particular give these materials the potential to profoundly impact technology in the future in both low and high current applications.

Perhaps the most formidable obstacle preventing the widespread use of these materials in high-current applications is their relatively low transport critical current density Jc, especially at higher temperatures and in the presence of high magnetic fields.  For polycrystalline samples, Jc is typically 102 - 103 A/cm2 at 77 K in zero magnetic field.  Current densities are limited by thermally activated flux motion due to low flux pinning energies; in polycrystalline materials, intergranular current flow is further limited by Josephson-like weak links at the grain boundaries.  Flux pinning in superconductors is caused by local variations in the superconducting parameters, which cause certain sites to become more energetically favorable for flux lines.  The critical current density can be increased by the introduction of suitable flux-pinning centers, such as defects and twin boundaries.  In this research project, the effects of chemical doping on flux pinning in YBa2Cu3O7 will be investigated.

Initial efforts will be focused on the system Y1-xPrxBa2Cu3O7. Pr is the only rare-earth element that forms the orthorhombic RBa2Cu3O7 crystal structure (R is any rare-earth element, except for Ce, Tb, and Pm which so far do not form this structure) and yet does not yield superconductivity.  As Pr is substituted for Y in Y1-xPrxBa2Cu3O7, there is a monotonic decrease in Tc with increasing Pr concentration x, and superconductivity is completely destroyed for x > 0.56.  However, the depression of Tc is only slight for x < 0.1, and the substitution of Pr for Y could introduce flux-pinning centers without significantly degrading superconductivity.  Preliminary magnetic relaxation measurements indicate that the pinning energies do, in fact, increase with the Pr concentration x.  These results may also have implications about the mechanism of Tc suppression in this system, which is still a matter of controversy in the scientific community.

The effectiveness of chemical impurities other than Pr as pinning centers will also be investigated in order to elucidate the aspect of Pr that causes the observed increase in pinning energy.  Initially, Ca, which is divalent and nonmagnetic, and Ho, which is trivalent and magnetic, will be substituted for Y (trivalent).  Thus, this project involves both basic and applied research of RBa2Cu3O7 high-Tc superconducting materials.

Experiments:

The approach we suggest is the following:

(1) Make polycrystalline ceramic samples of Y1-xMxBa2Cu3O7.  The resulting cylindrical pellets will be cut into various specimens for the measurements.

(2) The samples will be characterized by measuring X-ray diffraction spectra and low field magnetic susceptibility.  These measurements utilize state-of-the-art equipment that is presently being used in research.

(3) Various measurements can be made to determine Jc and the flux pinning energies of the samples.  These include magnetic hysteresis loops M(H) at constant temperature T < Tc, and magnetic time relaxation M(t) at constant T and H.

C.  Thin Films

[This technique will not likely be used this quarter.]

Thin film techniques form the basis of all modern microelectronic technology and science.  A number of thin film techniques are used to prepare integrated circuits, X-ray mirrors, optoelectronic devices, etc.  These include Molecular Beam Epitaxy (MBE), Chemical Vapor Deposition (CVD), and sputtering.  The thin film deposition technique used in the lab will be by magnetron sputtering. Given below is a brief description of the sputtering process and experimental procedure.   Later in the section is a description of the Researcher 101 sputtering system, and its basic operation instructions.

For a more detailed description of the sputtering process see Thin Film Processes edited by Vossen and Kern.

Structural Characterization

The first problem in any thin film experiment is to understand the structure of the film.  The two main structural parameters that determine the physics of a material are the crystal structure (atomic ordering) and the film thickness.  Because sputtered films are not grown in thermodynamic equilibrium, the structure depends sensitively on the growth conditions.  X-ray diffraction is an excellent technique for determining structural parameters.  X-ray diffraction is commonly used to study the crystal structure and is described in any solid state book (i.e. Kittel, Introduction to Solid State Physics, Ashcroft and Mermin , Solid State Physics) or any introductory X-ray diffraction book.  A very good book on the basics of X-ray diffraction is by B. D. Cullity, Elements of X-Ray Diffraction.  Low angle X-ray diffraction can also give an accurate measure of the film thickness and the flatness of the film as described in the Chapter 8 of Thin Films From Free Atoms and Particles, edited by Kenneth J. Klabunde.  This chapter also includes information on determining the crystal structure of thin films.

The first step is to deposit some thin film and determine the crystalline structure.  The easiest parameter to change in the sputtering procedure is the Ar pressure during sputtering.  The Ar pressure in the chamber will change the kinetics of growth considerably.  To understand why, see K. Meyer, I.K. Schuller, and C. M. Falco J. Appl. Phys. 52, 5803 (1981).  By changing the growth conditions, it is possible to optimize the properties of the films.  Some aspects of the structure can be determined. Suggestions are given below in order of increasing complexity.

1)	crystal structure and lattice constants ( bcc or fcc ?)

crystal orientation?

film thickness ?

By determining the film thickness, the sputtering rate of the gun for a given power can be determined which allows you to sputter films of specific thickness in future experiments.  Under similar conditions (Ar pressure, substrate to target distance, target, etc. kept constant) the sputtering rate should be proportional to the sputtering power, although the best way to control the film thickness is to determine the rate for a given sputtering condition and vary the sputtering time.

2)	crystalline coherence length?

are there grains? (size and orientation?)

standard deviation of film thickness?

3)	surface oxide layer or film-substrate interaction?

lattice strains?

in-plane orientation?

diffuse scattering?

To determine many of the structural parameters of the film requires comparing the measured x-ray spectra to model calculations.  An example of a low angle spectrum of a sputtered Nb film is shown in figure 3.  Low angle spectra can be simulated by using an optical formalism described by Underwood and Barbee, Appl. Opt. 20, 3027 (1981).  This formalism can be extended to include layers that are not flat, by calculating the low angle spectra for all the possible thicknesses and averaging the intensities to determine the final intensity scans.  The lab is equipped with a 386 SX PC computer, which has enough power to do most of these calculations.  By adjusting the distribution of layer thicknesses and comparing to the measured spectra, an estimate of the film flatness can be determined.  For an example see J.M. Baribeau, Appl. Phys. Lett. 57, 1748 (1990).

Superconducting properties

The targets in the sputtering guns are presently Nb and Al.  The lab has a SQUID magnetometer that can be used to measure the superconducting transition temperature of Nb films. For relevant work on the superconducting properties of Nb films, see, S. A. Wolf, J.J. Kennedy, and M. Nisenoff, J. Vac. Sci. Technol. 13,  145 (1976) or A. F. Mayadas, R.B. Laibowitz, and J.J. Cuomo, J. Appl. Phys. 43, 1287 (1972).  The effect of film structure on the superconducting properties can be studied, in particular how does grain size and film thickness affect the superconducting transition.

Multilayered structures

There are two sputtering guns in the chamber, which allows the preparation of layered structures.  Once a single film is understood, the easiest extension is to study the structure and superconducting properties of a Nb/A/Nb sandwich where A is another material.  There are a number of possible materials that can be chosen for A including Al, Cu, Ag, W, Si, Ge, and Ni.  For a complete list of available targets, check with the instructor.  The main question is - how does the spacer layer affect the growth of the films and the superconducting properties of the Nb layers?  Will a metallic or semiconductor layer affect the superconductivity differently?  If a small amount of magnetic material is included in the spacer layer, how is the superconductivity affected?

IV.  EQUIPMENT GUIDELINES

A.  Quantum Design SQUID Magnetometer: Magnetic Property Measurement System (MPMS2)

1.  Principles of operation: The MPMS2 is a commercial SQUID (Superconducting QUantum Interference Device) magnetometer that measures the magnetic moment of a sample at a controlled temperature (between 1.7 K and 400 K) in an applied magnetic field (up to ±7 tesla).  Most operation steps are performed through a user-friendly, menu-driven software package that runs on a personal computer, which interfaces to the electronic equipment that drives the hardware.  The operation of this machine can be broken down into various parts: sample transport, temperature (T) control and gas handling system, magnetic field (H) control, and signal detection electronics.  The details can be found in the fairly comprehensive manuals provided by QD, but the basic principle of operation is as follows.

The sample is dragged through superconducting (SC) pickup coils, which are wound in a second derivative arrangement.  Magnetic flux that passes through a SC coil will induce a persistent current in the coils.  This current drives a separated small SC coil, which produces a magnetic field that is sensed by the SQUID. In conjunction with the RF circuitry, the SQUID acts as a magnetic flux transducer, producing an output voltage signal proportional to the magnetic moment m that produced the flux.  The absolute value of m can be calibrated by measuring a standard sample of known moment (such as Pt or Pd).  By cycling the sample through a second derivative coil arrangement, contributions from electronic drift are greatly reduced, as are any constant external field (such as the earth's magnetic field) and any constant gradient field contributions.  A stepping motor raises the sample from below the pickup coils, to above them, and the voltage is digitally recorded at a specified number of intervals as the sample passes through the coils.  Due to the second derivative arrangement, a plot of voltage vs height yields a characteristic shape (see Fig. 4 on pg. 16 in the User's manual).  The center peak occurs at the center of the coil arrangement that consists of 2 windings wound in the positive sense.  Each of the two minima on either side of the center peak occurs near a single winding, wound in the negative sense and placed in series with the center windings.  The total voltage is the sum of the flux contributions from each winding.  The measured "scan" is then fit to a theoretical curve for an ideal dipole moment to determine the magnetic moment of the sample.  Samples that are long compared to the pickup coil diameter (˜1 cm) will yield an error in the calculated moment.  Samples that are not spherical will have higher multipole moments.  You should convince yourself that a second derivative coil type arrangement will not give a voltage for a uniform field and/or constant gradient field.

During the measurements, the sample tube (9 mm ID) contains ~ 2 torr (1 atm. = 760 torr) of He exchange gas, providing good thermal contact with the outer cooling annulus.  The cooling annulus is cooled by cold (~4.5 K) He gas flowing through it from the bottom.  The power to a resistance heater is altered to control the temperature at a constant value.  The temperature is measured by a four-wire ac resistance technique using either a platinum resistor (T > ˜40 K) or a germanium resistor (T < ˜40 K), which are isolated from the magnetic field due to the SC magnet, but still are in good thermal contact with the sample tube.  To reach temperatures below ˜ 4.5 K, liquid He (LHe) is collected at the bottom of the cooling annulus and subsequently pumped by the mechanical pump, which reduces the helium vapor pressure and therefore the boiling point of the LHe.  There is a vacuum space surrounding the cooling annulus, which isolates it from the LHe bath (dewar) which keeps the entire cryostat (insert) cold, including the superconducting magnet.  An outer vacuum jacket isolates the LHe bath from room temperature, and is superinsulated with aluminized mylar which acts as a thermal shield.

The superconducting magnet is wound in the shape of a solenoid and can attain fields as high as 7 tesla (70,000 gauss).  The field is sufficiently uniform only in a small region about the center of the pickup coils.  Field homogeneity is of particular concern when cycling hysteretic superconducting samples.  The magnet is energized by a 50 amp power supply.  When the desired current to the magnet is reached, the "persistent switch" is closed; that is, the magnet is short circuited by a SC wire, and the power supply current is ramped down.  The current in the magnet is maintained because of its zero resistance and high inductance (~5 henries).  Special care must be taken with SC magnets to prevent a "quench".  If any part of the SC magnet goes into the normal state (due, for example, to an insufficient amount of LHe in the dewar), creating a region of finite resistance, the high current will generate more heat and the entire magnet will be driven into the normal state in a small amount of time.  The current will then decay to zero and, due to the large inductance of the magnet, large voltages on the order of kV can potentially be induced across the windings of the magnet.  This can cause arcing and destruction of the expensive magnet.  There are, however, protective diodes across the magnet that should limit the voltage to a safe value.  In any case, a large amount of expensive LHe will evaporate very quickly.  To prevent a quench, you should not exceed the recommended maximum field for the various levels of LHe.  Above 50%, you can go to the maximum value of 7 T.  You should also program each run to ramp the field to zero at the end.

2.  Basic operation:

* Check the LHe level to make sure you can reach the fields you need:

LHe level (%)	Max. recommended field

> 50		70 kOe

40 - 50		10 kOe

30 - 40		1 kOe

20 - 30		100 Oe

Normally, the TA will transfer helium as needed, but if the level is below 50%, you should mention it to the TA.  Do not apply a field greater than the above specified limits, or the magnet could quench, potentially causing irreparable damage to the SQUID.

a.  Log into the lab notebook and record:

1.  Your name.

2.  Filename. This is the date you start the sequence plus a letter (a, b, c, etc.) indicating the order of that run on that date.  This will assure that every data file will be stored (on the harddisk) with a unique filename.  Be sure to change the filename on the computer.

3.  Liquid helium level. (It automatically updates every hour)

4.  Max field you will apply.  Indicate if you demagnetize the magnet by oscillating the field to zero from a high value > 5 kOe.

5.  Sample being measured - its chemical formula and code which identifies it.

6.  Any unusual behavior.

b.  Mount the sample:

When making magnetic measurements, you should be aware that virtually every solid material has a finite magnetic susceptibility, although some are larger than others.  The sample holders will contribute to your signal, impurities within and on the surface of your sample will also contribute.  At the very least there is a small Landau diamagnetism; metals also have Pauli paramagnetism.  Of special concern are paramagnetic or even ferromagnetic impurity contributions, which become large at low temperatures.  Therefore you should handle samples and sample holders with gloves and keep them clean.  Measurements of samples with small moments are often difficult because of these other contributions.

Place the sample in a gelatin capsule with some cotton or a kimwipe piece to hold it in place.  To prevent it from opening while purging, puncture a small hole in the top of the capsule with a needle or scalpel.  The gel cap is then inserted into the center of a straw and held in place with 2 small pieces of a similar straw.  The magnetization due to a uniform rod which is longer than the span of the pickup coils (such as the straw) will produce a constant flux, and does not contribute to the calculated magnetic moment.

Stick the straw onto the end of the sample rod, making sure that there is enough teflon tape that the straw will not come off.  Puncture another hole near the top of the straw to allow gas to enter easily into the region above the capsule.  Then slide the quartz tube assembly over the straw.

c.  Load the sample (see pg. 15 of User's manual):

The manually controlled airlock valve should be closed - make sure that it is. Vent the airlock.  Then remove the blue top fitting on the cryostat.  If you cannot remove the top blue fitting easily, there is probably a vacuum in the airlock and you must go to the computer menu to vent helium gas into the airlock.

Be very careful with the sample rod, especially at the joint where the stainless steel and brass are welded, which is extremely fragile.  Carefully place the sample holder in the airlock, turning the black clips and tightening them with an allen wrench.  Make sure that the white dot on the blue piece faces forward - it does matter!  Tighten the black screws to the sample transport assembly, and LOOSEN the steel knurled nut.

Once the sample holder is in place, purge the top chamber by pressing the black purge button.  Repeat this three times.  This prevents air from being introduced into the sample tube.  One wants especially to minimize the amount of oxygen contamination (which is paramagnetic), which can significantly contribute to the signal at low temperatures.  Also, ice could accumulate and cause problems.  If the sample tube does become contaminated (or if a sample falls to the bottom of the sample tube), it can be heated to ~320 K and purged with helium, i.e. with the airlock valve open.

Upon completion of the purging, open the airlock valve and lower the sample support rod slowly into the sample tube until ~2 cm of the rod is left.  Monitor the temperature while you do this; it will increase slightly.

d.  Center the sample

Apply an appropriate field (~10 Oe – I always use 1 T) to get a moment large enough to allow you to center the sample; then center the sample using the instructions in the software.  At this point, the sample is ready for measurement.

e.  Set T and H to initial conditions

f.  Program the sequence of the run

While the temperature is settling, you can program the sequence of the run.  Complete instructions can be found in the User's manual.  At the end of the sequence, set the temperature to ~10 K (to save LHe) and the field to zero (to prevent possible quench).

g.   Set all experimental parameters

Here are some suggestions:

MPMS EXECUTIVE MENU:

1.  Use magnetic mode OSCILLATE unless you are measuring hysteretic samples.  The field is more stable in time when you oscillate to the final value.  Also, the remnant field (due to trapped flux in this hard, Type II superconductor) will be smaller.

2.  Use temperature mode UNDERCOOL ON for faster cooling, unless you are concerned about hysteretic effects.

3.  MAG HIGH-RESOLUTION (ENABLE)

COLLECT DATA MENU:

1.  Use iterative regression mode algorithm for determining the moment.

2.  Use 3 cm scan length

3.  Take 32 data points per scan & record 32 readings per point.

4.  Average 3 scans.

5.  Longitudinal autorange ON

6.  If there is plenty of printer paper, Hardcopy ON & Plot after final scan.

7.  Make sure you change the filename.

h.  Start the run

Although the second derivative coil arrangement will cancel constant H and dH/dx, it is very sensitive to external magnetic fields which change in time.  Therefore, while a measurement is being made, activity near the QD MPMS should be minimized.  You especially do not want to be moving large magnetic objects like LHe storage dewars or gas cylinders.  You can verify the effect yourself by monitoring the voltage signal V vs time t on a sufficiently sensitive scale.  Go into the PLOT&DISPLAY menu from the MPMS EXECUTIVE menu.  Plot V vs t in real time and roll a gas cylinder near the MPMS.  What moment does the increase in V correspond to?

Be aware that external RF sources can also produce noise in the system.  Although we do not have one for the MPMS, a magnetic shield would greatly reduce these types of problems.

i.  After the run is finished:  Set T=10 K and H = 0 to conserve helium and as a courtesy to the next user.  Loosen the knurled steel nut on the sample rod and pull the rod up slowly.  When you feel resistance, do not force the rod up - wait just a few seconds for the slide seal to warm up, then you can pull up some more.  When the rod is all the way up, you can see your sample in the airlock.  CLOSE THE AIRLOCK VALVE, then remove the sample rod.  Replace the blue plug.

j.  Retrieve your data: copy the data file with the *.DAT extension to a floppy disk.  This produces data in a column format that you can then analyze with any spreadsheet program.

V. GUIDELINES FOR WRITING A PAPER

The presentation of experimental results is one of the most important aspects of research.  In most cases you have to present a large amount of work in a few concise pages.  Moreover, since your potential audience must be able to understand your paper, it must be as clear and concise as possible.  It is very important to give proper credit to related previous work, since your scientific audience will consist of your peers who may have done some work in the field.  A well-written paper will have the following ingredients:

1.  Title: This is the "hook" which will call attention to your work. The title should be concise, although descriptive of the research. Hopefully, it will not involve much jargon.

2.  Abstract: This will be a short section of perhaps 5-15 lines which describes in a very concise manner the main results and the uniqueness of the work.

3.  Introduction: A short section, perhaps one typed page, describes the nature of the problem, some background and prior work, theoretical background and a description of what was done in this work.

4.  Experimental: This is a description of experimental facilities used, uniqueness of the experimental approach, what samples were prepared, range of experimental parameters explored, etc. There is no need to describe trivial experimental aspects. This section will be, at most, one typed page long.

5.  Results: This will be the main body of the paper.  It will include a description of the data, including graphs, tables, or any other results.  It should include ideally 3 graphs that summarize the data, and perhaps one concise table.  Trends in the data and tables will be discussed in this section. This section should be, at most, 5 typed pages.

6.  Conclusions/Discussion: In this section, a comparison with previous work will be performed. The uniqueness of the results will be highlighted and a comparison with theoretical aspects will be performed.  Again, there is no need to dwell on trivial aspects or describe obvious facts. This section will have at most 3 typed pages.

7.  Summary: Here again the problem and the results are restated in a concise fashion. This should be done at most in 1/2 typed page.

8.  Acknowledgements: Any acknowledgements to discussions with others, ideas supplied by others, or financial help will be included in this section of 3-5 lines .

9.  References: A complete set of references in the American Institute of Physics format will be collected. These references should be referred to in the body of the paper in sequential fashion.

As an example of well written papers and to get an idea of what type of papers you are supposed to write, you should look through Physical Review Letters or Physics Review B.